{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Main","Check","History"],"not_rendered":{"charts":0,"images":3,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Main","index":0,"n_rows":21,"n_cols":5,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
[null,"Wet Air Characteristic Value (SI version)"]
[null,"Generated on 31 Aug 2020, Changed on 31 May 2023"]
[]
[null,"Element","Characteristic\nValue","Unit","Decimal \nPlaces"]
[null,"Atomosphere Pressure",101.325,"[kPa]",3]
[null,"Sea Level Height",null,"[m]",0]
[null,"Dry-Bulb Temperature",24,"[℃]",1]
[null,"Wet-Bulb Temperature",null,"[℃]",1]
[null,"Relative Humidity",50,"[%]",1]
[null,"Absolute Humidity",null,"[kg/kg']",6]
[null,"Specific Enthalpy",null,"[kJ/kg]",1]
[null,"Specific Volume",null,"[m3/kg']",3]
[null,"Dew Point Temperature",null,"[℃]",1]
[null,"Water Vapor Pressure Calculation Method","Wexler-Hyland","[-]"]
[null,"Saturated Water Vapor Pressure",null,"[kPa]",3]
[null,"Water Vapor Pressure",null,"[kPa]",3]
[null,"Saturation Degree",null,"[%]",1]
[null,"(Note) Input Atmospheric Pressure or Sea Level Height and 2 of following 7 (excluding  Combination of Absolute Humidity and Dew Point Temperature) and press \"Cal\" button."]
[null,"(Note) Refer to program source for calculation formula."]
[null,"(Note) Error handling is minimal."]
[null,"(Note) There is a calculation error."]

{"sheet":"Check","index":1,"n_rows":23,"n_cols":15,"rows_kept":23,"cut":false,"hidden":false,"merged":[]}
["Atomosphere Pressure","Atomosphere Pressure","Sea Level Height","Sea Level Height","Atomosphere Pressure","Atomosphere Pressure","Dry-Bulb Temperature","Saturated Water Vapor Pressure by Goff-Gratch","Saturated Water Vapor Pressure by Goff-Gratch","Dry-Bulb Temperature","Saturated Water Vapor Pressure by Wexler-Hyland","Saturated Water Vapor Pressure by Wexler-Hyland","Dry-Bulb Temperature","Saturated Water Vapor Pressure by Tetens","Saturated Water Vapor Pressure by Tetens"]
["[kPa]","[mmHg]","[m]","[m]","[kPa]","[mmHg]","[℃]","[kPa]","[mmHg]","[℃]","[kPa]","[mmHg]","[℃]","[kPa]","[mmHg]"]
[101.325,760,0,0,101.325,760,0,0,0,0,0,0,0,0,0]
[96.259,722,410,500,95.183000000000007,713.9,5,0,0,5,0,0,5,0,0]
[91.192999999999998,684,842,1000,89.412999999999997,670.6,10,0,0,10,0,0,10,0,0]
[86.126000000000005,646,1299,1500,83.992000000000004,630,15,0,0,15,0,0,15,0,0]
[81.06,608,1784,2000,78.900999999999996,591.79999999999995,20,0,0,20,0,0,20,0,0]
[75.994,570,2300,2500,74.117999999999995,555.9,25,0,0,25,0,0,25,0,0]
[70.927999999999997,532,2852,3000,69.623999999999995,522.20000000000005,30,0,0,30,0,0,30,0,0]
[65.861000000000004,494,3444,3500,65.403999999999996,490.6,35,0,0,35,0,0,35,0,0]
[60.795000000000002,456,4084,4000,61.439,460.8,40,0,0,40,0,0,40,0,0]
[55.728999999999999,418,4780,4500,57.713999999999999,432.9,45,0,0,45,0,0,45,0,0]
[50.662999999999997,380,5542,5000,54.216000000000001,406.7,50,0,0,50,0,0,50,0,0]
[45.595999999999997,342,6384,5500,50.929000000000002,382,55,0,0,55,0,0,55,0,0]
[40.53,304,7326,6000,47.841999999999999,358.8,60,0,0,60,0,0,60,0,0]
[35.463999999999999,266,8394,6500,44.942,337.1,65,0,0,65,0,0,65,0,0]
[30.398,228,9626,7000,42.216999999999999,316.7,70,0,0,70,0,0,70,0,0]
[25.331,190,11084,7500,39.658000000000001,297.5,75,0,0,75,0,0,75,0,0]
[20.265000000000001,152,12868,8000,37.253999999999998,279.39999999999998,80,0,0,80,0,0,80,0,0]
[15.199,114,15168,8500,34.994999999999997,262.5,85,0,0,85,0,0,85,0,0]
[10.132999999999999,76,18410,9000,32.874000000000002,246.6,90,0,0,90,0,0,90,0,0]
[5.0659999999999998,38,23952,9500,30.881,231.6,95,0,0,95,0,0,95,0,0]
[0,0,282432,10000,29.009,217.6,100,0,0,100,0,0,100,0,0]

{"sheet":"History","index":2,"n_rows":4,"n_cols":2,"rows_kept":4,"cut":false,"hidden":false,"merged":[]}
["日付","内容"]
["20230131","湿球温度の計算精度を改善した。"]
["20230531","「消去」ボタンを追加した。"]
["20230531","小数点以下の桁数を指定できるようにした。"]